Flat sizes

| Total internal area | 39.60 sq m |
| --- | --- |

Floor finishes

Communal entrance hall - Carpet

Flat Entrance hall – Solid oak flooring

Reception room – Solid oak flooring

Bathroom - Ceramic tiles

Bedroom – Carpet

Wall finishes

Entrance hall, Reception room, kitchen, bedrooms - Coloured matt emulsion

Bathroom - Floor to ceiling ceramic tiles, emulsion where not covered with tiles

Ceiling finishes

White matt emulsion to all rooms and hallway

Kitchen

Fully fitted kitchen units

Oven

Gas hobs

Extractor

Kitchen work surface – American walnut

Space for an integrated fridge freezer unit

Space for an integrated washer dryer

Extractor in reception room (Airflow for reduced noise)

Bathroom

White wall mounted w/c with concealed cistern with chrome push button flushes

Wash hand basin with Grohe chrome mono-block mixer taps

Pressed steel bath with shower mixer, glass bath screen

Extractors in bathroom (Airflow for reduced noise)

Electrics

Double power points – Reception room x 7, bedroom x 6, hallway x 1

Shaving point in bathroom (stainless steel)

Mains powered fire alarms within each flat

PIR sensor lighting to front of building

Joinery

Main front door to be fitted with door number, yale lock and letter box.

Front door to flat to be fitted with stainless steel ironmongery and 5 lever eurolock (thumbscrew) inc. flat number.

Internal doors.

Entertainment

TV / Satellite points (Integrated Reception Service)

Cat5e data / telephone points to reception room and bedroom

Security

Entry system

Burglar alarm

Lighting

Central pendant lighting in bedroom and living room

Recessed lighting in bathroom

Heating

Gas central heating in all rooms

Chrome ladder towel rail in bathroom

Vaillant Condensing boiler

Windows

Double hung timber sash windows to front of property

PVCu casement windows to rear of property

Insurance

BLP insurance warrantee.

Important notice

The above specification and measurements are indicative and are subject to change without prior notice.